Appendix A, 1 ea., Radio Communication Test Set, Aeroflex A3920B

List of equipment requested:

1 ea. of the following:

A-3920 Digital Radio Test Set

390XOPT051 Site Monitoring Application

390XOPT055 Audio Analyzer

392XOPT058 2.7GHz Frequency Range 20603

390XOPT059 Auto-Test II Analog

390XOPT060 Harmonics&Spurious Measurement

390XOPT061 Tracking Generator 1 Stk 9.992,94 9.992,94

390XOPT064 Analog Duplex Occup. Bandwidth and Power Between Markers

390XOPT110 TETRA MS (Mobile Station Testing)

390XOPT111 TETRA BS (Base Station Testing)

390XOPT112 TETRA DM (Direct Mode Testing)

390XOPT114 TETRA Energy Economy Mode

390XOPT115 TETRA Autotest II

390XOPT210 Analog Simulcast Option

390XOPT603 TIA/EIA-603 FM Land

W390X-203C Ext. St. Warranty 36 Mth. w. scheduled calibration

AC24009 DMM Test Leads for use with 392XOPT053

AC25083 Case, Transit W/Wheels (Pelican)

AC25036 DC to AC Converter, 12VDC to 110-120VAC

AC25014 Scope Probe Kit

AC8645 Microphone