Requirement Specification

1 ea. GPS-based Sounding System with

200 ea. GPS based Radiosondes

- Requirements

- 1.1. Description of the requirement

- The document states the requirements for a GPS based Sounding System to be used by the Royal Danish Air Force (RDAF).

The GPS based Sounding System will be used for daily routine measurements and for expeditionary purposes. The daily routine measurements are made every working day during the early morning hours. The sounding provides pressure, temperature and dew point profiles up to an altitude of about 30.000 m. In addition, the wind direction and wind velocity are determined. From the obtained data specific Bulletins / Messages are generated and transmitted in to the airbases and used for planning of the day’s air operations.

System Architecture

Tripod with GPS antenna and

Telemetry Antenna

Processing Subsystem

Tripod with GPS antenna and

Telemetry Antenna

- 1.2. Description and definitions

- The requirement specification, cf. section 1.4, describes all the requirements for the acquisition  and consists of six columns with the following information:

| - "#" | - ID number |
| --- | --- |
| - "Requirement" | - Requirement description |
| - "Classification" | - The classification of the requirement as further described in section 1.3 |
| - "DALO remarks" | - Further information regarding the requirement |
| - "Requirement compliance" | - The tenderer's indication of compliance (YES or NO) |
| - "Tender description" | - Requirements regarding the tenderer's compliance description |

- 1.3. Classification

- All requirements are mandatory requirements (SHALL) and shall be fulfilled by the tenderer. If just one of the mandatory requirements is not fulfilled, the tenderer's tender will not be taken into further consideration.

- 1.4.  Requirement and response sheet

| # | Requirement | Classification | DALO remarks | To be filled out be the tenderer |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Requirement compliance (tick a box) |  | Tenderer's description |
|  |  |  |  | YES | NO |  |
| 1 | - The vendor SHALL supply one GPS Sounding System including: One Tripod One UHF antenna One GPS antenna One Ground Check Device One Processing subsystem/unit One Operator Working Position ( Laptop including dockingstation, Keyboard and mouse) Light weight Transport cases for the Tripod part including UHF/GPS antennas Light weight Transport cases for the indoor unit including the Processing Subsystem and PC All necessary software All hardware and software shall support use of the Danish or English character set All necessary software licenses | SHALL |  |  |  |  |
| 2 | - The vendor SHALL supply EA 200 GPS based Radiosondes | SHALL |  |  |  |  |
| 3 | When installed the Sounding System SHALL function without degradation under the following environmental conditions for the Outdoor equipment: - Operating temperature from -40 C to +55 C - Operating relative humidity for the mentioned temperature range, 0 – 100% - Operating precipitation, unlimited - Operating wind speed from 0 to 65 m/s | SHALL |  |  |  |  |
| 4 | - The Sounding System SHALL have the following Mains Supply tolerances:: - Mains Voltage: 240 VAC 10%, 1 phase and 110 VAC 10%, 1 phase | SHALL |  |  |  |  |
| 5 | - It SHALL be possible to: Fix the Tripod to the ground Install the GPS antenna on the Tripod Install the UHF Telemetry antenna on the Tripod | SHALL |  |  |  |  |
| 6 | - The GPS antenna SHALL: Be used for reception of local GPS signals Be immune to interference from other radiation signals Have a Azimuth coverage of 360 Have a Elevation coverage of 90 | SHALL |  |  |  |  |
| 7 | - The Telemetry antenna SHALL: Be used for reception of radiosonde signals in the 400 MHz meteorological band Be able to receive radiosonde signals from radiosondes up to 200 km away Have a Azimuth coverage of 360 Have a Elevation coverage of 90 | SHALL |  |  |  |  |
| 8 | - The Processing subsystem SHALL: Be able to process data received from the Telemetry antenna and the GPS antenna Be able to process data from the GPS radiosondes Be able to communication with the OWP by a network cable (TCP/IP) | SHALL |  |  |  |  |
| 9 | - The Sounding system SHALL: Be able to send the Bulletins / Messages in both the WMO format and the AFTN format Be able to generate Bulletins / Messages automatically, when user specified pressure levels (hPa) have been reached during a sounding Be able to send the automatically generated Bulletins / Messages automatically - if this functionality is chosen (Adjustable System Parameter (ASP) | SHALL |  |  |  |  |
| 10 | - The Sounding system SHALL be generate at least the following Bulletins / Messages: FM 35-XI Ext. TEMP, Part TTAA,BB,CC,D - FM 38-XI Ext. TEMP MOBIL, Part TTAA,BB,CC,DD - FM 32-XI Ext. PILOT, Part PPBB - FM 34-XI Ext. PILOT MOBIL, Part PPBB - METB2/B3 (STANAG 4061) - METCM (STANAG 4082) - METFM (STANAG 2103) - METTA (STANAG 4140) - METEO 11 - METGM (STANAG 6022) - TEMP SHIP FM36-XI - PILOT SHIP FM 33-XI - BUFR messages - 3`09`050 - 3`09`051 - 3`09`052 - 3`09`057 - 3`09`056 - 3`09`053 CLIMATE TEMP FM 75-X | SHALL |  |  |  |  |
| 11 | - It SHALL be possible for an Operator to: Edit the Bulletins / Messages manually during or after a sounding Print the Bulletins / Messages To choose if the Bulletins / Messages shall be generated automatically or by intervention of the operator To view stored soundings (raw data) To process stored soundings just like a real time sounding | SHALL |  |  |  |  |
| 12 | - The GPS based Radiosondes SHALL: Be GPS bases radiosondes Be delivered properly wrapped so they can be stored for at least 2 years without any deterioration in functionality Have a weight of max 150 g including battery Have a size of max 225 x 90 x 90 mm Be able to be tested before the launch | SHALL |  |  |  |  |
| 13 | - The GPS based Radiosondes SHALL have a Temperature sensor with the following resolutions and accuracy: Measuring range from + 60 C to - -90 C Resolution better than or equal to 0,05 C Accuracy better than or equal to - 0,2 C >= 100 HPa - 0,3 C < 100 HPa | SHALL |  |  |  |  |
| 14 | - The GPS based Radiosondes SHALL have a heated humidity sensor in order to have a de-icing functionality when flying trough layers with freezing conditions | SHALL |  |  |  |  |
| 15 | - The GPS based Radiosondes SHALL have a humidity sensor with the following resolutions and accuracy: Measuring range from 0 to 100% Resolution better than 0,15% Accuracy better than 2 to 4% | SHALL |  |  |  |  |
| 16 | - The GPS based Radiosondes SHALL for communication with the Sounding System at ground use a transmitter which operates in the meteorological 403 MHz band (400,15 to 406 MHz) | SHALL |  |  |  |  |
| 17 | - The Transmitter in the GPS based Radiosondes SHALL: Be Synthesized Have a frequency stability according to EN 302 054 or equivalent Have a bandwidth according to EN 302 054 or equivalent | SHALL |  |  |  |  |